20 W    SMA    Type    Coaxial    Attenuator

Drawing and Dimension:

| Operating Freq. | DC –3GHz |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Average Power | 20W |  |  |  |  |  |  |
| Peak Power | 5µs：0.5KW |  |  |  |  |  |  |
| Attenuation value | 3dB | 5dB | 6dB | 10dB | 15dB | 20dB | 30dB |
| Accuracy | ±0.4dB | ±0.5dB | ±0.5dB | ±0.7dB | ±0.7dB | ±0.8dB | ±0.8dB |
| VSWR | ≤1.15 |  |  |  |  |  |  |
| Housing | Aluminum(Black Plating ) |  |  |  |  |  |  |
| Connector body | Brass (Nickel Plating ) |  |  |  |  |  |  |
| Gasket Parts | Silicone Rubber |  |  |  |  |  |  |
| Connector | SMA- Male / Female |  |  |  |  |  |  |
| Inner conductor | Phosphor Bronze (Gold plating) |  |  |  |  |  |  |
| Impedance | 50Ω |  |  |  |  |  |  |
| Operating Temp. | -40～+80℃ |  |  |  |  |  |  |
| Coating | Black plated(Housing) |  |  |  |  |  |  |
| Weight | 300g |  |  |  |  |  |  |