1W SMA    Type    Coaxial Dummy Load (Terminator )

Drawing and Dimension:

| Freq. range | DC-3GHz |
| --- | --- |
| Power | 1W |
| VSWR | ≤1.10 |
| Impedance | 50Ω |
| Connector | SMA-Male |
| Housing | Brass (Gold Plating) |
| Operating Temp. | -40～+85℃ |
| Waterproof rate | IP67 |
| Storage Temp. | -60～+100℃ |
| Weight | 10g |