50W N type Coaxial    Dummy Load ( Terminator)

| Freq. Range | DC-3GHz |
| --- | --- |
| Power capacity | 50W |
| VSWR | ≤1.2 |
| Impedance | 50Ω |
| Connector | N- Female |
| Housing | Aluminum |
| Operating Temp. | -40～+85℃ |
| Waterproof rate | IP67 |
| Storage Temp. | -60～+100℃ |
| Weight | 320g |

Drawing and Dimension: